## Slide 1: Smart Grid Issues Panel Discussion 25 October 2010
David Waltz

## Slide 2: Control
Smart Grid will have smart sensors everywhere
Much control will be distributed
  Certainly at level of home or office
  Large building? Neighborhood?
  Distributed generation (wind, solar, co-gen,…)
Transmission/distribution control is more problematic
  Would like to dynamically balance system loading, use “islanding” to limit fault cascades
  What kinds of actions can be taken? Devices lacking and/or not standardized beyond ~circuit breaker level
Need centralized picture of overall system state
  In emergencies, crews and equipment will need to be dispached
  Distributed sensors need to collect, combine, summarize, decide who to tell about state (both central system, customers)

## Slide 3: Data & Control
First, utilities need to start collecting and saving data if they are not already doing so
  It’s now possible to start assembling “best practices” for what data to collect, and what form to store it in to support analysis
More data is probably the greatest need
  Critical events (e.g. failures) are rare
  Learning requires statistically meaningful numbers of samples
Analytics and modeling are also very important
Machine Learning is key
  Systems, loads, weather are constantly changing, so fixed models are inappropriate
  As more distributed control possible, and more sensor data is collected, system models need to be adaptable
Ultimately, optimizing decision support that can deal with uncertain futures is required